## Slide 1: Next generation sequencing (NGS)

## Slide 2: History of DNA/RNA sequencing

## Slide 3: Sanger sequencing is developed in the late ’70s
nrg.2017.96-f1 1

## Slide 4
> Source: Cieślik - 2018

## Slide 5: RNA-seq emerged shortly after NGS from 2005
nrg.2017.96-f1 2

## Slide 6
Source: Cieślik - 2018 Also see: rna-seqblog.com

## Slide 7: Sanger sequencing
A.k.a: Capillary sequencing or first-generation sequencing
  the first sequencing method still used
  uses labeled terminating codons
  Separation by electrophoresis / chromatography (~sep by length)
  Readout in chromatogram

## Slide 8: Principle of Sanger sequencing
dna-sequencing_med

## Slide 9: The whole setup to date
Sanger-sequencing

## Slide 10
Wikipedia

## Slide 11: Next generation sequencing
Different NGS platforms / configurations and sequencing chemistry.
  Illumina
  PAC-bio
  Ion-torrent
  New comer: Nano-pore (very different)
Shared properties
  massive parallel sequencing
  spatially separated, clonally amplified DNA molecules

## Slide 12: Illumina Sequencing

## Slide 13: Amplification on the flow cell by bridge PCR
NGS1

## Slide 14
Source: https://wiki.mcmaster.ca/

## Slide 15: Sequencing of clones (local clusters) by adding coloured nucleotides
NGS2.illumina_2

## Slide 16
Source: https://wiki.mcmaster.ca/

## Slide 17: Sequencing by synthesis
  Adding four fluorescently-labelled reversible terminator nucleotides, primers, and DNA polymerase to the flow cell.
  The primer attaches to the illumina adapter of the DNA being sequenced.
  The DNA polymerase then binds to the primer and adds the first fluorescently-labelled terminator nucleotide (base) to the new DNA strand.
  The coloured terminator nucleotides stops it
    All strands arrive to the same point in sequence with the
  Microscopy (colour dots)
  Cleave terminating residue
  Repeat

## Slide 18: Sequencing by synthesis - Overview
Seq.steps

## Slide 19: Newer sequencers use only two colours to cut down the cost
Seq.colors

## Slide 20: Single & paired-end sequencing
Paired.end.seq

## Slide 21
Source: Devon Ryan

## Slide 22: sc-Seq uses paired-end sequencing
  Most scRNASeq protocols are sequenced with paired-end sequencing.
  Barcode sequences may occur in one or both reads depending on the protocol employed.
  Typically: one read with the CBC and UMI , other read for transcript sequence (used for mapping).
  Reads will be mapped as if they are single-end sequenced despite actually being paired end.